## Sheet1
Term From MIAPE | Caterogires
date stamp | General descriptors
institutional role
name
affiliation
contact information
sample | Sample
sample volume
sample concentration
sample source
sample molecular mass
tags
pH
buffer
sample pre treatment
injection volume
inline
offline
direct
full loop
partial loop
flush condition
sample storage temperature
column manufacturer | Equipement
column model
column type
separation mechanism
affinity
anion exchange
cation exchange
reverse phase
hydrodynamic volume
column physical characteristic
column dimensions
total volume
length
inner diameter
stationary phase
particle size
packing materials
monoliths
guards
traps
chromatography system
software
separation mode
dimension
mobile phase | Mobile phase
constituent
column run | Column run
time
gradient
flow rate
temperature
process type | Pre and post run processes
equilibration
calibration
washing
substance
reagent
rate
process duration
detection | Column output
detector
uv detector
ms detector
data collection duration
equipment setting
control properties
wavelength
time range
trace
trace location
trace format
fraction name
fraction size
fraction collection procedure
start time
end time
fraction volume
fraction mode
fixed
peak
collection time